# Village of Hecker

Zoning Administrator / Code Administrator

Baseline Inspection Checklist

For Single Dwelling units, Duplexes and Multifamily

(Single dwelling may be single family homes.townhomes or condos)

There are two categories in this checklist:

R is a Required Check and must be signed off on by the inspector.

G is a Guideline for Owner/Agent of things the owner may want to be aware of but is not required for the purpose of a rental sign off.

- General Inspection

Exterior

R                     Foundation, Roof, Cladding and Exterior structure as observed from grade appear to be in sound functional condition.

R                     Crawl Space Cover and Hatchways are provided.

R                     All Painted surfaces are in good repair.

Exiting-Egress

R                     Exits used for emergency egress must be accessible and unobstructed (free of stored and discarded materials).

R                     Exit Door(s) that have a latch, deadbolt, or security chain, are operable from inside without key or tool.

R                     All exterior locks must function properly.

R                     Doors and windows are properly sealed to prevent significant air infiltration.

R                     Exterior windows should be latchable without the use of a lock, key or special knowledge

for operation and in good operable condition.

Means of Egress is an exit system that provides a continuous, unobstructed path of travel to a public way, including an exit door or an egress window (bedroom window)

R                     Egress Window(s) which are used for emergency use must have a minimum unobstructed clear opening of 5.7 sq. ft. on 2nd floor – 5.0 sq. ft. on 1st floor and not more that 44” above the floor.

Stairways and Guardrails

R                     Stairs must be safe for use, in good condition and have handrails if four or more steps or risers exist.

R                    There is a guardrail for porches, balconies, landings, floor and roof openings, ramps, and decks with a drop-off to the ground over 7 feet.

Fire Protection and Fuel Burning Appliances

R                     Electric (hard wired) or battery operated Smoke Detector(s) are installed in each dwelling unit.  Smoke Detectors are installed in each bedroom and at least one or more on each floor, 15 ft. from bedrooms.

R                     Every dwelling unit shall have a cooking device installed in an approved manner.

G                     BBQ’s, hibachis and other outdoor cooking on wood decks or in close proximity to wood,

vinyl siding can be a serious fire hazard.

R                     Units with fuel burning appliances and attached garage, a carbon monoxide detector will

be installed on each floor.  Units with all electric and an attached garage will have detectors

on each floor.

Food Preparation and Food Storage

R                   Kitchen sink countertops, food preparation surfaces, cooking devices, and food storage areas shall be easily cleanable and free from holes, breaks or cracks that could cut or injure a person, and dampness that would permit harborage of insects or promote the growth of bacteria.

Windows, Floors, Ceilings and Doors

R                   Windows are free of loose, broken glass and have proper screens on them.

R                    Windows are intact and capable of affording privacy for the occupants.

R                    Floors are safe to use and capable of supporting intended use.

R                    Floor Coverings are free from tripping hazards

Plumbing Fixtures

R                    Fixtures, hardware and fittings are in proper working order, free of breaks and leaks.

R                    Walls surrounding tubs and showers are structurally sound and impervious to water.

R                   Plumbing within each unit includes hot and cold water, portioned toilet, lavatory sink, and kitchen sink.

Electrical Equipment

R                   No visible signs of frayed, exposed, burnt insulation and/or unprotected electrical wiring.

R                   Accessible Fixtures and Electrical Outlets are properly installed, covered and in good working

condition.

R                   No dangerous conditions look to exist inside any panel box.

R                   GFI outlets or breaker(s) for areas enforced by code (exterior and wet areas).

Interior

R                   Generally in a clean and orderly way.

R                   No trash or rubbish shall be accumulated inside.

R                   No evidence of insects or rodents.

Misc:

R                   Downspouts discharged at least 5’ from building.

R                   No weeds over the height of 8”.

R                   No trash or rubbish shall be accumulated outside.

R                   All fencing will be in good repair.

R                   Yard will be graded away from house.

R                   No hazardous situations around building or yard.

R                   No inoperative or unlicensed motor vehicle shall be parked, kept or stored on any premises.

Number of Bedrooms: __________________

Number of Bathrooms: _________________

Any other imminent health and or safety issues noticed during inspection:

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

NO PERMIT ISSUED UNTIL ALL REPAIRS ARE COMPLETE AND REINSPECTED.