Village of Hecker

Zoning Administrator / Code Enforcement Officer

Bob Phillips

P.O. Box 176 / 151 W. Monroe

Hecker, IL 62298

(618) 473-2300

- As required under Property Maintenance Code (Ordinance 29-1-1)

- Originally adopted 8/11/1998

- Re-adopted 4/1/2008 as part of a comprehensive ordinance review and update.

- Occupancy permit process and procedures implemented effective 2/1/2009

Basic Guidelines

An occupancy permit is required on any residence (owner occupied or non-owner occupied) or commercial property located in the Village of Hecker.  The purpose of this requirement is to maintain a minimum level of property maintenance and safety.

Occupancy Permit Fees and Costs

Multi-Family Rental Structure Inspection Fee - $100.00 per dwelling unit

This fee is required to be paid before an inspection will be scheduled and is valid for a period of one (1) year.  The dwelling unit does not have to be re-inspected during that period, even if the occupancy changes

Single Family/Manufactured Home/Mobile Home Inspection Fee - $100.00

This fee is required to be paid before an inspection will be scheduled and is valid for a period of one (1) year.  The dwelling unit does not have to be re-inspected during that period, even if the occupancy changes.

Occupancy permit fee – $25.00

Certificate of Occupancy fee shall be paid at the time the certificate is issued.  It shall be the responsibility of the tenant/occupant to apply for the certificate of occupancy after the application for occupancy has been approved

- Copy of an existing Occupancy Permit Fee - $20.00

- Re-Inspection Fees - $50.00 (charged for each additional re-inspection)

ALL FEES SHALL BE NON-REFUNDABLE

Occupancy Permit Application Process

- Contact Code Enforcement Officer to obtain PROPERTY INSPECTION REQUEST FORM and OCCUPANCY PERMIT APPLICATION

- Submit the following to the Code Enforcement Officer:

  - Completed PROPERTY INSPECTION REQUEST FORM and OCCUPANCY PERMIT APPLICATION

  - A lease agreement (if applicable).

  - Two forms of identification, one being a picture I.D.

  - Property Inspection Fee

- Property Inspection is scheduled and performed by Village authorized building inspector

- If deficiencies are noted, the owner/occupant will receive an OWNER/AGENT INSPECTION FORM.  If no deficiencies exist, skip to step # 6

- Address deficiencies and contact Code Enforcement Officer/Building Inspector to schedule PROPERTY REINSPECTION.  Pay REINSPECTION FEE at this time.

- With satisfactory inspection, the OCCUPANCY PERMIT FEE is to be collected

- Code Enforcement Officer will issue a CERTIFICATE OF BUILDING OCCUPANCY PERMIT to owner/occupant

Tips and Suggestions

The following items are a few of the things that are looked at when an inspection is performed.  To prevent costly re-inspections, it is your best interest to complete as many of these repairs as you can before you call for an inspection.

Plumbing Facilities

- Check all pipes and faucets for leakage and corrosion.

- Check that all drains are in proper working condition.

- Toilets should be secured to floor and in working condition.

Heating Facilities

- Furnace should be clean.

- Gas furnaces must have a shut off valve.

- Carbon Monoxide Detector must be installed within 15 feet of bedrooms and on each level of home.

Bathroom/Kitchen

- All bathrooms must have a window or an operable exhaust fan for ventilation.

- There must be at least one (1) GFCI outlet in each bathroom.

- Check all pipes for leakage of sewer gas.

- Floors to be impervious to water

- Walls around tub/shower must be in good condition.

- Bathroom must have adequate lighting.

- Kitchen must have a sink in proper working order, cabinets.shelves, counter, stove hook-up and refrigerator hook-up.

Basement

- Basement must be clean and free from rubbish.

- Basement must be structurally sound.

Stairs and Porches

- All stairs must be properly attached and secure.

- Stairs with more than four (4) risers must have a handrail.

- All balconies and porches that are thirty (30) inches above floor or grade must have a guardrail.

- All guardrail spindles must be no greater than four (4) inches apart.

- All balconies, guardrails and handrails must be kept in good condition and painted.

Roofs and Gutters

- All gutters and down spouts must be in working order and free from leaks.

- Roof must be free of leaks.

- Check for rotted wood on overhangs, fascia, etc. all exterior wood must be painted.

Masonry

- Any cracks, missing brick must be made not to let in water, insects or rodents.

Doors, Windows and Exterior Woodwork

- Replace all rotted wood and paint.

- Siding is maintained and functional

- All windows must have locks and be in operable working condition.

- All windows must have screens.

- Windows must be free of cracks and broken glass, screens free of tears or holes.

- Scrape and paint all wood around windows that is peeling and chipping.

- Re-glaze windows where compound is dried, cracked or missing.

- All doors must be sealed properly.

- Deadbolts must be turn style, double key not allowed.

- All rooms must have windows in good repair.

Accessory Structures (Garages, Sheds, Etc.)

- All accessory structures/ fences must be in compliance and in good repair.

- All accessory structures must be kept free of trash, debris and vermin.

Bedrooms

- All bedrooms must meet the following requirements for occupancy:

- For one person – minimum of 70 square feet.

- 50 square feet increase in footage per extra person.

- All bedrooms are required to have a closet of at least five (5) square feet with a rod to hang clothes.

- All bedrooms must have a door for privacy.

- If you have to pass through a room to get to another room it does not qualify as a legal bedroom.

- All bedrooms must have a working smoke detector.

Yards

- Standing water – grading and drainage problem from structure and property.

- Trees, shrubs and grass properly maintained.

If you have any questions, please call